Bardney Group Parish Council

Health and Safety Policy

Reviewed and adopted 21.1.2026

CONTENTS

1. INTRODUCTION	1

2. HEALTH AND SAFETY POLICY STATEMENT	5

2.1. Environmental POLICY STATEMENT	6

3. ORGANISATION FOR HEALTH AND SAFETY	9

4. HEALTH AND SAFETY RESPONSIBILITIES	11

The Councillors	11

The Parish Clerk	12

Employees	13

Contractors	14

WorkNest	15

6. ARRANGEMENTS	17

Accident, Incident and Ill-Health Recording, Reporting and Investigation	17

Communication and Consultation	19

Contractors	20

Display Screen Equipment	22

Electricity	23

Environment	24

Fire	26

First Aid	27

Hazardous Substances (COSHH)	28

Health, Safety and Welfare	29

Home Working	30

Infection Control	31

Legionnaires Disease	34

Leptospirosis (Weil’s Disease)	36

Liquefied Petroleum Gas (LPG) and Compressed Gas	37

Lone Working	39

Machinery Maintenance	40

Manual Handling	41

Personal Protective Equipment	42

Risk Assessment	43

Smoking	44

Stress	45

Training	46

Violence	48

Visitors	49

Waste Management	50

Work At Height	51

Work Equipment	52

7. RISK ASSESSMENT	54

Risk Assessment	54

Fire Risk Assessment	57

8. MONITORING OF HEALTH AND SAFETY	60

INTRODUCTION

1. INTRODUCTION

This Health and Safety manual has been prepared by WorkNest on our behalf and with our involvement. It contains our Health and Safety Policy as required by the Health and Safety at Work Act 1974 and it defines the way we manage the health and safety hazards and risks associated with our business, premises and activities.

Bardney Group Parish Council are committed to managing health and safety effectively to protect our employees and other persons with whom we interact because we recognise that we have not only a moral and legal duty but also that our employees are our greatest asset.

Our Health and Safety Policy Statement sets out our commitment and the objectives we aspire to in managing health and safety. It is signed by the most senior person in our organisation to demonstrate that our commitment is led from the top.

Our approach to managing health and safety will be pragmatic and proportionate and will be prioritised according to risk with the objective of maintaining continuous improvement. We accept that we cannot eliminate risk from everything we do but we can manage risk in such a way that exposure to hazards is controlled as far as is reasonably practical.

We recognise that improvement in health and safety will not happen by chance and that planning to manage using a systematic approach through risk assessment is a necessary first step and an ongoing process. In moving forwards we will wherever possible eliminate risk through selection and design of buildings, facilities, equipment and processes. Where risks cannot be eliminated they will be minimised by the use of physical controls or, as a last resort, through systems of work and personal protection.

Our success in managing health and safety will be measurable and we look to establish performance standards against which we can monitor our progress to identify future actions to go into our improvement programme.

Based on our performance measurement in the form of accident monitoring, internal monitoring and external audits we will review our health and safety arrangements periodically and at least annually. The results of our measurement will be recorded and presented to the Board in our Annual Report.

This Policy has been created by the named consultant from WorkNest with the co-operation of our staff. They have signed the Policy to confirm that at the time of creation it is suitable, sufficient and relevant to our circumstances and operations. Our nominated responsible person has signed the Policy to confirm that it is a true reflection of the activities and operations that we undertake and the circumstances in which the council operates.

| Creation Date | Signed on behalf of WorkNest | Confirmed |
| --- | --- | --- |
| 15/01/2026 | David Rogers | DR |

POLICY REVIEW

This Health and Safety Policy will be reviewed annually by WorkNest in conjunction with our nominated responsible person. As each review is completed it will be signed off by the consultant from WorkNest and confirmed by our nominated responsible person.

| Review Date | Signed on behalf of WorkNest | Confirmed |
| --- | --- | --- |

DOCUMENT CONTROL

The electronic copy of the Health and Safety Policy provided by WorkNest will remain the controlled copy. Where further controlled copies are required then these should be issued accordingly and added to a register of controlled copies. Any amendments made to the policy will be provided for each of the controlled copies to ensure all controlled copies in circulation remain up to date.

If uncontrolled copies of the policy are printed either in whole or part, or if uncontrolled electronic copies are issued, then these will be clearly marked as an ‘UNCONTROLLED COPY’.

Register

| Copy Number or Reference | Location kept |
| --- | --- |
| 1 | SafetyNest |

AMENDMENT RECORD

Any amendments made to the Health and Safety Policy will be recorded below with information on changes made.

Where significant changes are to be made which could impact on the business or our clients, we will consider the reasons for change, potential problems and how it will be implemented.

| Date | Section | Ref /Title | Details of amendment made | Change made by |
| --- | --- | --- | --- | --- |

LEGISLATION

Extracts of relevant legislation are provided for ease of reference on the WorkNest webpage. Full copies of relevant legislation are available on the Office of Public Sector Information web page (www.opsi.gov.uk) and the National Archives (www.legislation.gov.uk)

GUIDANCE

Guidance on a number of health and safety issues can be accessed by logging onto the WorkNest webpage which we hope you will find useful as a quick reference source.

Should you require further advice or assistance not available here then remember that advice on any health and safety issue is available from the WorkNest advice line - Tel: 0345 226 8393.

FORMS

Relevant forms and templates that may be utilised can be accessed by logging onto the WorkNest webpage.

POLICY STATEMENTS

# 2. HEALTH AND SAFETY POLICY STATEMENT

The management of Bardney Group Parish Council recognises that it has a legal duty of care towards protecting the health and safety of its employees and others who may be affected by the council’s activities, and that managing health and safety is a business critical function.

In order to discharge its responsibilities the management will:

- bring this Policy Statement to the attention of all employees

- carry out and regularly review risk assessments to identify proportionate and pragmatic solutions to reducing risk

- communicate and consult with our employees on matters affecting their health and safety

- comply fully with all relevant legal requirements, codes of practice and regulations at International, National and Local levels

- eliminate risks to health and safety, where possible, through selection and design of materials, buildings, facilities, equipment and processes

- encourage staff to identify and report hazards so that we can all contribute towards improving safety

- ensure that emergency procedures are in place at all locations for dealing with health and safety issues

- maintain our premises, provide and maintain safe plant and equipment

- only engage contractors who are able to demonstrate due regard to health & safety matters

- provide adequate resources to control the health and safety risks arising from our work activities

- provide adequate training and ensure that all employees are competent to do their tasks

- provide an organisational structure that defines the responsibilities for health and safety

- provide information, instruction and supervision for employees

- regularly monitor performance and revise policies and procedures to pursue a programme of continuous improvement.

This Health and Safety Policy will be reviewed at least annually and revised as necessary to reflect changes to the business activities and any changes to legislation. Any changes to the Policy will be brought to the attention of all employees.

Signed: 							Dated:

Name: 							Position:

# 2.1. Environmental POLICY STATEMENT

The management of Bardney Group Parish Council recognises that the day-to-day operations can impact both directly and indirectly on the environment. We aim to protect and improve the environment through good management and by adopting best practice wherever possible. We will work to integrate environmental considerations into our business decisions and adopt greener alternatives wherever possible, throughout our operations.

In order to discharge its responsibilities the management will:

- bring this Environmental Policy Statement to the attention of all stakeholders

- carry out regular audits of the environmental management system

- comply fully with all relevant legal requirements, codes of practice and regulations at International, National and Local levels

- eliminate risks to the environment, where possible, through selection and design of materials, buildings, facilities, equipment and processes

- ensure that emergency procedures are in place at all locations for dealing with environmental issues

- establish targets to measure the continuous improvement in our environmental performance

- identify and manage environmental risks and hazards

- improve the environmental efficiency of our transport and travel

- involve customers, partners, clients, suppliers and subcontractors in the implementation of our objectives

- minimise waste and increase recycling within the framework of our waste management procedures

- only engage contractors who are able to demonstrate due regard to environmental matters

- prevent pollution to land, air and water

- promote environmentally responsible purchasing

- provide adequate resources to control environmental risks arising from our work activities

- provide suitable training to enable employees to deal with their specific areas of environmental control

- reduce the use of water, energy and any other natural resources

- source materials from sustainable supply, when practicable.

This Environmental Policy will be reviewed at least annually and revised as necessary to reflect changes to the business activities and any changes to legislation. Any changes to the Policy will be brought to the attention of all stakeholders.

Signed: 							Dated:

Name: 							Position:

ORGANISATION FOR HEALTH & SAFETY

# 3. ORGANISATION FOR HEALTH AND SAFETY

The overall responsibility for health and safety rests at the highest management level. However, it is the responsibility of every employee to co-operate in providing and maintaining a safe place of work.

This part of our policy allocates responsibilities to line managers to provide a clear understanding of individuals’ areas of accountability in controlling factors that could lead to ill health, injury or loss. Managers are required to provide clear direction and accept responsibility to create a positive attitude and culture towards health and safety.

The following positions have been identified as having key responsibilities for the implementation of our health and safety arrangements:

- Councillors

- Parish Clerk

- Maintenance Operative

HEALTH AND SAFETY RESPONSIBILITIES

4. HEALTH AND SAFETY RESPONSIBILITIES

## The Councillors

The Councillors have the ultimate responsibility for the health and safety of Bardney Group Parish Council but discharges this responsibility through the Parish Clerk down to individual managers, supervisors and employees.

The Councillors has nominated the Parish Clerk to have special responsibility for health and safety.

The Councillors will ensure that:

- they provide a lead in developing a positive health and safety culture throughout the organisation

- all its decisions reflect its health and safety intentions

- adequate resources are made available for the implementation of health and safety

- they will promote the active participation of employees in improving health and safety performance

- they will review the health and safety performance of the council on an annual basis.

## The Parish Clerk

The Parish Clerk has overall responsibility for ensuring our compliance with Health and Safety legislation.

The Parish Clerk will ensure:

- our Health and Safety Policy is implemented, monitored, developed, communicated effectively, reviewed and amended as required

- a health and safety plan of continuous improvement is created and senior management monitor progress against agreed targets

- suitable and sufficient funds, people, materials and equipment are provided to meet all health and safety requirements

- senior management designated with health and safety responsibilities are provided with support to enable health and safety objectives to be met

- a positive health and safety culture is promoted and that senior management develop a pro-active safety culture which will permeate into all activities undertaken and reach all personnel

- a system of communication and consultation with employees is established

- effective training programmes have been put in to place

- an annual report on the safety performance of the council is presented to the Board.

## Employees

All employees must:

- take reasonable care of their own safety

- take reasonable care of the safety of others affected by their actions

- observe the safety rules

- comply with the Health and Safety Policy

- conform to all written or verbal instructions given to them to ensure their personal safety and the safety of others

- dress sensibly and safely for their particular working environment or occupation

- conduct themselves in an orderly manner in the work place and refrain from any antics or pranks

- use all equipment, safety equipment, devices and protective clothing as directed

- avoid any improvisations of any form which could create an unnecessary risk to their personal safety and the safety of others

- maintain all equipment in good condition and report defects to their supervisor

- report any safety hazard or malfunction of any item of plant or equipment to their supervisor

- report all accidents to their supervisor whether an injury is sustained or not

- attend as requested any health and safety training course

- observe all laid down procedures for processes, materials and substances used

- observe the fire evacuation procedure and the position of all fire equipment and fire exit routes.

## Contractors

All contractors must:

- take reasonable care of their own safety

- take reasonable care of the safety of others affected by their actions

- observe the safety rules

- submit their health and safety policy and relevant risk assessments to us for approval

- comply with and accept our health and safety policy, if they do not have one

- conform to all written or verbal instructions given to them to ensure their personal safety and the safety of others

- dress sensibly and safely for their particular working environment or occupation

- conduct themselves in an orderly manner in the work place and refrain from any antics or pranks

- use all equipment, safety equipment, devices and protective clothing as directed

- avoid any improvisations of any form which could create an unnecessary risk to their personal safety and the safety of others

- maintain all equipment in good condition and report defects to their supervisor

- report any safety hazard or malfunction of any item of plant or equipment to their supervisor

- report all incidents to their supervisor and to us whether an injury is sustained or not

- attend as requested any health and safety training course

- observe all laid down procedures for processes, materials and substances used

- observe the fire evacuation procedure and the position of all fire equipment and fire exit routes.

## WorkNest

WorkNest, in agreement with management, provides us with the following services:

- development of our documentation throughout the period of our contract and keeping it updated for:

- changes in Health and Safety legislation relevant to us

- organisational changes which affect our management system.

- a general risk assessment in the first part of the contract that forms the basis of our risk management programme and helps us plan our future actions to reduce risk.

- a consultant visit to train senior managers and to support our implementation of this Policy by:

- assisting us to complete specific risk assessments

- providing further training, as agreed, on relevant agreed topics

- reviewing and auditing our health and safety procedures and legal compliance

- providing advice on implementing changes and system procedures.

WorkNest is also contracted to:

- fulfil the role of 'Competent Person', providing advice and assistance on Health and Safety issues

- provide for us a telephone advisory service - available 24 hours per day, 365 days of the year

- provide crisis help if we have a serious accident or incident involving the Enforcement Authorities

- provide legal fees insurance, the terms of which are defined in our insurance policy document

- provide briefings to help keep us up to date with new and forthcoming legislation.

ARRANGEMENTS

# 6. ARRANGEMENTS

## Accident, Incident and Ill-Health Recording, Reporting and Investigation

This policy sets out the procedures that are to be followed when any employee, visitor or contractor has an accident, near miss or dangerous occurrence on the council’s premises during the course of their employment.

This will also apply to visitors who are members of the public and are therefore not at work. In addition employees who develop a work-related illness must also report via these procedures.

Definitions:

An accident is an unplanned event that causes injury to persons, damage to property or a combination of both.

A near miss is an unplanned event that does not cause injury or damage but could do so.

A work-related illness is a prescribed illness that is obtained by an employee through the course of work or from a non-employee as a result of activities carried out by the council.

The Accident Book

All accidents resulting in personal injury must be recorded in the council’s Accident Book.

The Accident Book will comply with the requirements of the Data Protection Act.

The Accident Book will be reviewed regularly by senior management to ascertain the nature of incidents that have occurred in the workplace. This review will be in addition to any investigation of the circumstances surrounding each incident.

All near misses must also be reported to management as soon as possible so that action can be taken to investigate the causes and to prevent recurrence.

Employees must ensure that they are aware of the location of the accident book.

Reporting Requirements

Certain accidents causing injury, both fatal and non-fatal, certain occupational diseases and certain dangerous occurrences are reportable to the Enforcing Authority under the Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 2013 (RIDDOR).

The following events must be reported to the Health and Safety Executive:

- A death

- A specified injury to an employee as detailed in regulation 4

- An injury to a non-employee where that person is taken directly to hospital for treatment as a result of their injury

- Any dangerous occurrence

- Any employee diagnosed by a qualified medical practitioner as suffering from a disease specified in the Regulations

- Any employee diagnosed with a cancer caused by work-related exposure to a known carcinogen or mutagen.

Injuries that lead to a worker being incapacitated for more than seven consecutive days as the result of an occupational accident or injury (not counting the day of the accident but including weekends and rest days) must also be reported within 15 working days using the Health and Safety Executive (HSE) website.

You must also keep a record of an accident if the worker has been incapacitated for more than three consecutive days. If you are an employer, who must keep an accident book under the Social Security (Claims and Payments) Regulations 1979, that record can be treated as a record for the purposes of RIDDOR.

Contact details for the Health and Safety Executive are:

Tel: 0345 300 9923 (Monday to Friday 8:30am to 5:00pm)

Website: www.hse.gov.uk

For further advice on injuries, diseases or dangerous occurrences requiring notification please contact the WorkNest Advice Line. (Tel: 0345 226 8393)

The completed report form sent back by the HSE should be kept with the other accident records and documents; this will confirm the notification has been made.

Accident report, completed notification form and investigation notes, witness statements and photographs are to be kept on file to advise the insurers of a potential claim and to present to the Enforcing Authority in the event of an investigation.

Records are to be kept for 3 years from the date of the incident.

Investigation

All injury related accidents that are either notified to the Enforcing Authority or where a serious injury has occurred will be investigated:

- to ensure that all necessary information in respect of the accident or incident is collated

- to understand the sequence of events that led to the accident or incident

- to identify the unsafe acts and conditions that contributed to the cause of the accident or incident

- to identify the underlying causes that may have contributed to the accident or incident

- to ensure that effective remedial actions are taken to prevent any recurrence

- to enable a full and comprehensive report of the accident or incident to be prepared and circulated to all interested parties

- to enable all statutory requirements to be adhered to.

The investigation will include obtaining signed witness statements, photographs and drawings as appropriate.

## Communication and Consultation

It is a legal requirement for the council to establish arrangements to communicate and consult with employees on issues affecting their health and safety and to take account of their views.

To achieve this objective we will:

- establish effective lines of communication

- involve and consult with employees through:

- individual conversations

- notice boards

- internal publications

- staff meetings

- health and safety meetings.

- display the ‘Health and Safety Law – What You Need To Know’ poster

- consult with employees when changes to processes, equipment, work methods etc. are to be introduced that may affect their health and safety.

Where it is not practical to consult with all employees directly and it would be more appropriate to communicate and consult through employee representatives, we will arrange for representatives of employee safety to be elected / recognise health and safety representatives who have been appointed by a relevant trade union.

The council will allow all representatives an appropriate amount of time away from their normal duties in order to complete their duties as representatives. We will not hinder representatives in the execution of their normal functions as defined by law.

## Contractors

When working on our premises it is considered that contractors are joint occupiers for that period and therefore we have both joint liabilities in “common areas”.  In order to meet our legal obligations with regard to contractors we will ensure that prior to engaging any contractor they are competent and that any works are carried out safely.

The following factors will be considered as part of our procedures for vetting contractors:

- sight of the contractor’s own safety policy, risk assessments, method statements, permits to work, etc as applicable

- clarification of the responsibility for provision of first aid and fire extinguishing equipment

- details of articles and hazardous substances intended to be brought to site, including any arrangements for safe transportation, handling, use, storage and disposal

- details of plant and equipment to be brought onto site, including arrangements for storage, use, maintenance and inspection

- clarification for supervision and regular communication during work including arrangements for reporting problems or stopping work in cases where there is a serious risk of personal injury

- confirmation that all workers are suitably qualified and competent for the work (including a requirement for sight of evidence where relevant)

- evidence showing that appropriate Employers and Public Liability Insurance is in place.

Clearly, it will not be necessary to go to such elaborate lengths if the contract is very short and will not create hazards of any significance. The complexity of the arrangements will be directly proportional to the risks and consequences of failure.

Similarly we have a parallel duty to the contractor and must ensure that the contractor is not put at risk by our own activities for the duration of the contract.

We will stop contractors working immediately if their work appears unsafe. Staff should report any concerns to a manager immediately.

Construction work and the Construction (Design and Management) Regulations 2015

Where any construction work is carried out, to fulfil our legal duties as a “client” under the Construction (Design and Management) Regulations 2015 we will:

- make suitable arrangements for the management of the project and review those arrangements throughout the project to ensure that they are still relevant

- ensure that all dutyholders that we appoint have the necessary skills, knowledge, training and experience to carry out their roles safely.

- appoint in writing the Principal Designer and Principal Contractor sufficiently early in the project to allow them to carry out their duties properly.

- notify the HSE in writing for projects that require it

- ensure that relevant pre-construction information is passed to all designers and contractors

- ensure that the Principal Designer and Principal Contractor carry out their duties

- ensure that adequate welfare facilities are provided for the contractors

- ensure that no construction commences until an adequate health and safety plan and construction phase plan covering the work has been prepared

- ensure that any health and safety file passed to us is kept securely and readily available for inspection by anyone who requires it to fulfil their legal duties, and , if we choose to dispose of the building, to pass the file to any person or council who acquires the building.

- cooperate fully with all other dutyholders and provide all relevant information and instruction promptly and clearly.

## Display Screen Equipment

All reasonable steps will be taken by the council to secure the health and safety of employees who work with display screen equipment.

To achieve this objective the council will:

- carry out an assessment of each user’s workstation

- implement necessary measures to remedy any risks found as a result of the assessment

- provide adequate information and training to persons working with display screen equipment

- endeavour to incorporate changes of task within the working day, to prevent intensive periods of on-screen activity

- review software to ensure that it is suitable for the task and is not unnecessarily complicated

- arrange for the provision of free eye tests when requested, at regular intervals thereafter and where a visual problem is experienced

- arrange for the supply, at a subsidised cost up to a maximum limit of £50, for any corrective appliances (glasses or contact lenses) where these are required specifically for working with display screen equipment

- advise existing employees, and all persons applying for work with display screen equipment, of the risks to health and how these are to be avoided

- investigate any discomfort or ill-health believed to be associated with the use of display screen equipment and take appropriate remedial action

- make special arrangements for individuals with health conditions that could be adversely affected by working with display screen equipment.

Employees must:

- comply with the instructions and training given regarding safe workstation set-up and use, including the need for regular changes of activity or breaks and the use of the equipment provided

- inform their departmental supervisor/line manager of any disability or health condition which may affect their ability to work using display screen equipment or be affected by working with DSE (this information will be treated confidentially)

- report to their departmental supervisor/line manager any discomfort or health concern believed to be associated with the use of DSE (this information will be treated confidentially).

## Electricity

All reasonable steps will be taken to secure the health and safety of employees who use, operate or maintain electrical equipment.

To ensure this objective the council will:

- ensure electrical installations and equipment are installed in accordance with the Wiring Regulations (BS 7671) published by the Institution of Engineering and Technology (IET)

- maintain the fixed installation in a safe condition by carrying out routine safety tests

- inspect and test portable and transportable equipment as often as required to ensure safety

- promote and implement a safe system of work for maintenance, inspection and testing

- forbid live working unless absolutely necessary, in which case a permit to work system must be used

- ensure employees who carry out electrical work are competent to do so

- maintain detailed records.

Employees must:

- visually check electrical equipment for damage before use

- report any defects found to their line manager/supervisor

- not use defective electrical equipment

- not carry out any repair to any electrical item unless qualified to do so

- switch off non-essential equipment from the mains when left unattended for long periods

- not bring any electrical item onto the council premises until it has been tested and a record of such a test has been included in the appropriate record

- not leave electric cables in such a position that they will cause a tripping hazard or be subject to mechanical damage.

## Environment

All reasonable steps will be taken to protect the environment. In order to discharge its responsibilities the management will:

- comply fully with all relevant legal requirements, codes of practice and regulations

- prevent pollution to land, air and water

- reduce water and energy use

- minimise waste and increase recycling within the framework of our waste management procedures

- identify and manage environmental risks and hazards

- involve customers, partners, clients, suppliers and subcontractors in the implementation of our objectives

- promote environmentally responsible purchasing

- provide suitable training to enable employees to deal with their specific areas of environmental control

- improve the environmental efficiency of our transport and travel

- establish targets to measure the continuous improvement in our environmental performance

- eliminate risks to the environment through selection and design of buildings, facilities, equipment and processes. Where risks cannot be eliminated they will be minimised by the use of physical controls or, as a last resort, through systems of work and personal protection

- only engage contractors who are able to demonstrate due regard to environmental matters

- bring the Environmental Policy Statement to the attention of all employees.

Environmental complaints procedure

On receipt of a complaint about any environmental related matter the following procedure will be implemented:

- the name, address and contact details will be taken from the complainant along with details of the complaint including dates, times, frequency, impact and location

- full details of the complaint will be recorded and passed a Senior Manager or Director for an investigation to be instigated

- investigations will be commenced at the earliest opportunity and at least within 24 hours

- where the complaint is found to be justified immediate measures will be taken to remedy the problem as far as is reasonably practicable

- results of all investigations will be recorded and copied to the complainant, a Senior Manager or Director

- the complainant will be kept advised of the results of any investigation and the measures being taken to seek a solution; including details of the proposed timescales where immediate resolution is not possible.

All employees are responsible for working towards the objectives contained within this policy.

## Fire

All reasonable steps will be taken to prevent a fire occurring. In the event of fire, the safety of life will override all other considerations, such as saving property and extinguishing the fire.

In order to prevent fire and to minimise the likelihood of injury in the event of a fire the council will:

- assess the risk from fire at our premises and implement appropriate control measures

- ensure good housekeeping standards are maintained to minimise the risk of fire

- provide and maintain safe means of escape from the premises

- develop a fire evacuation procedure for all buildings

- provide and maintain appropriate fire-fighting equipment

- regularly stage fire evacuation drills, inspect the means of escape and test and inspect fire-fighting equipment, emergency lighting and any fire warning systems

- provide adequate fire safety training to employees, plus specialist training to those with special responsibilities

- make arrangements for the safe evacuation of deaf or otherwise disabled persons

- make arrangements for ensuring all visitors are made aware of the fire evacuation procedures

- display fire action notices

- keep fire safety records.

The council does not require persons to attempt to extinguish a fire but extinguishing action may be taken if it is safe to do so.

Immediate evacuation of the building must take place as soon as the evacuate signal is given. All occupants, on evacuation, should report to the pre-determined assembly points.

Re-entry of the building is strictly prohibited until the fire brigade officer or a senior person present declares it is safe to do so.

Employees are encouraged to report any concerns regarding fire procedures so the organisation can investigate and take remedial action if necessary.

## First Aid

The council is committed to providing sufficient provision for first aid to deal with accidents and injuries that arise at work.

To achieve this objective the council will:

- appoint and train a suitable number of first aid personnel to cover all work patterns

- display first aid notices with details of first aid provision

- provide and maintain suitable and sufficient first aid facilities including first aid boxes

- provide any additional first aid training that may be required to deal with specific first aid hazards.

The minimum first aid provision at all sites is an adequately stocked first aid box and an Appointed Person to take charge of the first aid arrangements.

Appointed Person

The Appointed Person duties include:

- taking charge when someone falls ill or is injured, including calling an ambulance if required

- looking after and maintaining the first aid box and contents.

The Appointed Person will not be required to provide treatment for which they have not been trained.

First Aiders

First aiders are qualified personnel who have received training and passed an examination in accordance with HSE requirements.

The numbers of first aid personnel at each location will be determined by individual circumstances, the level of risk and in line with current government guidance.

First aid personnel will be provided with refresher training at regular intervals to keep their skills up to date.

First Aid Boxes

First aid boxes will be provided within the workplace to ensure there are adequate supplies for the nature of the hazards involved. All boxes will contain at least the minimum supplies suggested by L74: First Aid at Work Approved Code of Practice. Only specified first aid supplies will be kept. No creams, lotions or drugs, however seemingly mild, will be kept.

Portable First Aid Kits

Portable first aid kits will be available for staff members required to work away from the normal workplace, where access to facilities may be restricted, such as:

- work with potentially dangerous tools and machinery away from base location

- staff travelling abroad on business

- staff travelling in vehicles on a regular basis

- staff whose work takes them to isolated or remote locations

- staff participating in sporting or social events arranged or supported by the organisation.

## Hazardous Substances (COSHH)

All reasonable steps will be taken to ensure all exposure of employees to substances hazardous to health is prevented or at least controlled to within statutory limits.

The council will implement the following:

- maintain an inventory of all substances hazardous to health kept or present on site and retain copies of relevant hazard data sheets

- competent persons will be appointed to carry out risk assessments of the exposure to substances hazardous to health and advise on their control

- all operations which involve, or may involve, exposure to substances hazardous to health will be assessed and appropriate control measures will be taken if elimination or substitution of the substance is not possible

- engineering controls will be properly maintained by planned preventive maintenance and annual performance monitoring to ensure continued effectiveness

- systems of work will be reviewed at suitable intervals and revised if necessary

- all employees and others who may work in the affected areas will be informed of the purpose and safe operation of all engineering controls

- personal protective equipment (PPE) will only be used as a last resort or as a back-up measure during testing or modification of other controls

- the type and use of PPE will be carefully assessed and maintained according to manufacturers’ instructions

- assessments will be reviewed periodically or if changes to the operation or any hazardous substances used

- qualified professionals, where necessary, will carry out health surveillance

- employee health records of all exposures to substances hazardous to health will be kept for a minimum of 40 years

- all employees will be provided with understandable information and appropriate training on the nature of the hazardous substances they work with. Employees will be informed about any monitoring and health surveillance results

- all changes to control measures and changes of PPE will be properly assessed and no new substances will be introduced into the workplace without prior assessment.

Information and Training

The council will give sufficient information and training to ensure full understanding of the hazards to health posed by substances in the workplace and the importance of the control measures provided. Information will also be given to others who may be affected such as contractors, temporary staff and visitors where appropriate.

Managers and supervisors of areas which use substances hazardous to health will be given additional training to ensure the proper management of the risks.

## Health, Safety and Welfare

The council is committed to providing suitable health, safety and welfare facilities in line with current legislation, in particular the provision of:

- adequate maintenance of workplace and equipment

- appropriate ventilation, temperature control and lighting

- suitable cleanliness and housekeeping standards

- adequate workspace allocation

- properly designed workstations

- well maintained traffic routes and floors

- appropriate fall protection

- suitable glazing

- safe access and egress (well maintained exits and entrances)

- appropriate sanitary and washing facilities

- separate toilet facilities for men and women

- plentiful wholesome drinking water supply and cups

- seating with an incorporated back rest

- accommodation for keeping clothing clean and dry

- facilities for changing, rest periods, hot drinks and meals preparation

- showering facilities if the nature of an employees’ work requires this

- appropriate first aid provision

- appropriate emergency, fire and evacuation equipment and procedures.

The council recognises these responsibilities are required for any work whether on a remote work site, at their usual workplace or head office.

## Home Working

Home workers are subject to the same health and safety requirements as workers based on council premises and their health and safety will be managed accordingly.

To achieve this objective we will:

- ensure that appropriate risk assessments are completed

- ensure that risk assessments are reviewed annually

- ensure home workers are provided with suitable induction training on commencement of employment

- ensure appropriate equipment is provided for the home worker’s health, safety and welfare

- ensure all equipment that is provided for use in the employees’ homes is properly installed and tested

- arrange for the maintenance of all electrical equipment supplied for use in employees’ homes (The hard wired electrical sockets and ring mains supplies are the employee’s own responsibility)

- provide, where practicable, scope for varying work patterns and to allow employee input in how the work is carried out to ensure home workers take periodic breaks during the working day

- ensure that managers and home workers have the opportunity to be kept informed of what is going on within the council; recognising and satisfying the need for social interaction will reduce stress

- encourage home workers to ‘network’ with colleagues

- make the home worker aware of their duty to report any incidents or accidents that occur as a result of work related activities to the council using the council accident procedure

- ensure home workers are aware of the need to monitor their own working conditions and report any problems to their line manager.

Training

All home workers will be fully trained in the tasks that they are employed to do and the equipment they will be using.

Home workers will be trained in emergency procedures in case of an accident in the home.

Supervisors/management of home workers will be trained in how to deal with employees working off site e.g. prearranged regular contact, how to recognise signs of stress in home workers.

## Infection Control

For some work activities, staff may be at risk of infection or of spreading infection. Exposure to infections may arise at work from a number of situations, including:

- contact with people (e.g. Diphtheria, TB, MRSA, Norovirus, Gastroenteritis)

- contact with blood and bodily fluids (e.g. Tetanus, Hepatitis B or C, HIV)

- injuries arising from needles / sharps (e.g. Tetanus, Hepatitis B or C, HIV)

- contact with animals or animal faeces/urine (e.g. Avian Flu, E. Coli, Leptospirosis).

The council aims to prevent the spread of infection through work-based activities by adopting suitable control measures.

The council will:

- undertake assessments to identify tasks or situations that may expose individuals or groups to potential infection

- identify, plan and implement controls and safe systems of work to prevent transmission of infection

- provided information, instruction and training to those identified at risk

- where required, provide personal protective equipment (PPE) and monitor its use and maintenance

- organise for the safe cleaning of equipment and where appropriate disinfection and thorough, cleaning of the premises

- arrange for safe disposal of any infected materials

- adopt good hygiene practices.

Vaccination

The risk assessment will also identify whether the staff involved in a particular task should be offered vaccinations against Hepatitis B and Tetanus.

Where this is identified, vaccinations shall be offered to individuals without charge.

Training and Information

Training and information will be provided to all employees who are identified from the risk assessment as being potentially exposed to infections.

Training will be given for any tasks they are employed to do, the equipment they will be using and any safe procedures to adopt.

Staff Illness and Reporting

It is important to remember that infection can also be passed onto people from staff.  Staff should notify their manager if they develop any infectious disease that may affect work or people around them, for example:

- skin infections or exposed areas of infestation

- severe respiratory infection (e.g. pneumonia, TB)

- severe diarrhoea

- jaundice

- hepatitis

- Chicken Pox, Measles, Mumps, Rubella

- norovirus

- gastroenteritis

- HIV.

Managers will need to discuss with the individual suitable controls. In some cases, employees may need to be referred to an Occupational Health Practitioner or their GP for advice.

Staff should also report any illness or disease which has been contracted through work. In some circumstances if a staff member contracts a disease whilst at work, this is reportable under RIDDOR (Reporting of Injuries, Diseases and Dangerous Occurrences Regulations). Certain diseases including Leptospirosis, Hepatitis, TB, and Tetanus are specifically required to be reported.

Confidentiality

Confidentiality will be maintained at all times in relation to an employee who is known to have any infectious disease.

No health information will be disclosed without the written consent of the employee concerned and any breach of such confidentiality, either inside or outside the organisation, will be regarded as a disciplinary offence and may result in disciplinary action.

Pandemics and Epidemics

When notified that the country is experiencing a pandemic or epidemic, the council will aim to prevent the spread of infection through work-based activities by adopting suitable control measures.

The council will:

- follow guidance given by government agencies and close work sites if instructed to or if employees or any person is put at risk,

- undertake risk assessments to identify tasks or situations that may expose individuals or groups to potential risks,

- monitor any changes to government guidance,

- manage the risk posed by contractors and visitors visiting the workplace,

- develop and implement an emergency action plan to deal with any potential outbreaks,

- allow employees to take part in any government testing,

- identify, plan and implement controls and safe systems of work to prevent transmission,

- provide information, instruction and training to those identified at risk,

- where required, provide personal protective equipment (PPE) and monitor its use and maintenance,

- organise for the safe cleaning of equipment and, where appropriate, disinfection and thorough cleaning,

- arrange for safe disposal of any infected materials, and

- adopt good hygiene practices.

First Aid

If an employee or other person is taken to hospital as a result of exposure to a laser (whether as a precaution or for treatment), the injured person or the person accounciling them must give the following information to the hospital staff or ambulance crew:

- the length of the time that the injured person may have been exposed to the laser beam

- the method of exposure (e.g. looking directly into the beam or through a reflection)

- the power output of the laser

- the classification of the laser

- the wavelength of the laser

- any other relevant information specified by the manufacturer of the laser equipment.

## Legionnaires Disease

All reasonable steps will be taken to identify potential legionellosis hazards and to prevent or minimise the risk of exposure.

At risk systems include the hot and cold water storage and distribution system and the wet cooling of air in the air conditioning system. The relevant authority will be notified of any cooling towers or evaporating condensers where applicable.

To achieve control of legionella bacteria the council will implement the following:

- Avoidance of Conditions Favouring Growth of Organisms

As far as practicable, water systems will be operated at temperatures that do not favour the growth of legionella. The recommended temperature for hot water is 60°C and either above 50°C or below 20°C for distribution, as care must be taken to protect people from exposure to very hot water.

The use of materials that may provide nutrients for microbial growth will be avoided. Corrosion, scale deposition and build-up of bio films and sediments will be controlled and tanks will be lidded.

- Avoidance of Stagnation

Dead-legs, which occur when water services leading from the main circulation water system to taps or appliances, are used only intermittently and other parts of systems which may provide a reservoir for infection will be identified and where possible eliminated.

The dissemination of organisms will be reduced by careful design of equipment and the use of drift eliminators to stop excessive circulation of potentially contaminated air or enclosure.

- System Maintenance

Water systems will be disinfected by an effective means before being taken into service and after shut downs of five or more days. Plant will be regularly inspected and maintained (e.g. by monthly visits from a water treatment specialist). Plant will be disinfected periodically (normally twice yearly) by chlorination or by temporarily raising water temperatures. Biocides may be used to control microbial growth. Maintenance personnel must wear appropriate protective clothing.

- Sampling

Sampling for legionella will not normally be necessary, unless in the case of an outbreak or to monitor the effectiveness of precautionary measures. Weekly monitoring of chemical and microbiological water quality will be carried out to give a useful indication of the state of the system.

- Record Keeping

Records will be kept of all maintenance, temperature monitoring and sampling carried out.

Selection, Training and Competence of Staff

Persons carrying out control measures will receive appropriate training and supervision so they are able to perform their duties competently.

Action in the Event of an Outbreak

A contingency plan in case of an outbreak of legionellosis will be prepared. This will include the:

- identification of people who may have been exposed

- involvement of public health authorities

- dissemination of information to employees and other interested parties as to the nature of the risks.

## Leptospirosis (Weil’s Disease)

Weil’s Disease is a form of the bacterial infection Leptospirosis, which can be transmitted to humans through contact with rat urine. The council will ensure that all employees who may be exposed to contaminated areas adhere to the following controls:

- control the rat population in work areas if possible

- cover any cuts or broken skin with the appropriate waterproof dressing, and wash cuts or grazes sustained during work immediately

- wear the appropriate personal protective equipment as identified by the risk assessment

- never touch or handle rats with bare hands

- take rest breaks away from the work area

- not consume food or drink in or near the work area

- avoid full immersion in water if possible

- shower and wash hands thoroughly after working in any environment that may have been contaminated with rat urine.

Any employee who suffers from feverish headaches, vomiting, muscle pains, and general flu-like symptoms after working in rat-contaminated areas must seek medical attention and inform their GP that they may have been in contact with rats or rat urine.

## Liquefied Petroleum Gas (LPG) and Compressed Gas

Gas cylinders are a convenient way to transport and store gases under pressure.

These gases are used for many different purposes, including:

- soldering, welding and flame cutting

- chemical processes

- fire extinguishers

- heating and cooking.

The main hazards are:

- impact from the blast of a gas cylinder explosion, or rapid release of compressed gas

- impact from parts of gas cylinders that fail or any flying debris

- contact with the released gas or fluid

- fire resulting from the escape of flammable gases or fluids

- impact from falling cylinders.

Where LPG / Compressed Gas are used, the council will ensure that provision is made for:

- adequate training and supervision in their use

- suitable handling equipment, plant and storage facilities with adequate ventilation, security measures, and monitoring and control devices

- regular maintenance and inspection by competent persons, and the recording of all maintenance and inspections.

Handling and Use of Gas Cylinders

- Users must carry out an external visual inspection of the gas cylinders and any attachments (e.g. valves and regulators), to determine whether they are damaged. Indicators may include dents, bulges, evidence of fire damage etc.

- Use gas cylinders in a vertical position, unless specifically designed to use otherwise.

- Always double-check that the cylinder/gas is the right one for the intended use.

- Close the cylinder valve and replace dust caps, where provided, when a gas cylinder is not in use.

- Before connecting a gas cylinder to equipment or pipe work make sure that the regulator and pipe work are suitable for the type of gas and pressure being used.

- Wear suitable safety shoes when handling gas cylinders.

- Do not drop gas cylinders.

- Empty cylinders must be stored in a safe and secure manner and not disposed of with normal waste.

- Do not lift the cylinders by valves, shrouds and caps.

Transporting Gas Cylinders

- Fit suitable protective valve caps and covers to cylinders, when necessary, before transporting.

- Securely stow gas cylinders in an upright position to prevent them from moving or falling.

- Disconnect regulators and hoses from cylinders whenever practicable.

- Ensure gas cylinders are clearly marked to show their contents and the hazards associated with their contents.

Storage of Gas Cylinders

- Store gas cylinders in a safe and secure manner.

- Gas cylinders containing flammable gas should not be stored in part of a building used for other purposes.

- Protect gas cylinders from external heat sources and ensure that gas cylinders are stored away from sources of ignition and flammable materials.

- Gas cylinders must be clearly marked to show what they contain and the hazards associated with their contents.

- LPG cylinders should be stored away from drains and not in cellars.

## Lone Working

The council will ensure, so far as is reasonably practicable, that employees and self-employed contractors who are required to work alone or unsupervised for significant periods of time are protected from risks to their health and safety.

The council will determine, by risk assessment, those activities where work can actually be done safely by one unaccompanied person. This will include the identification of hazards from means of access and/or egress, plant, machinery, goods, substances, environment and atmosphere, etc.

Particular consideration will be given to:

- the remoteness or isolation of workplaces

- any problems of communication

- the possibility of interference, such as violence or criminal activity from other persons

- the nature of injury or damage to health and anticipated "worst case" scenario.

Information and Training

Employees and others will be given all necessary information, instruction, training and supervision to enable them to recognise the hazards and appreciate the risks involved with working alone.

Employees will be required to follow the safe working procedures devised including:

- when working alone, e.g. in an isolated area of a building with all doors closed, ensure that someone is aware of your presence

- check that work being done has been subject to risk assessment and check the assessment yourself – some work may have been identified as requiring the assistance of a second person

- if possible and arranged beforehand, keep in regular contact with someone else, e.g. use a mobile phone to call into the office or a designated buddy/contact every couple of hours indicating your movements

- do not put yourself at risk; if you do not feel safe discuss the situation with your immediate manager

- report all accidents, injuries, near-misses and dangerous occurrences to your immediate manager.

## Machinery Maintenance

The council will take all reasonable steps to ensure the safety of all employees maintaining the machinery as well as the safety of those affected by the maintenance work. The council will liaise with the suppliers of all new machinery to establish how that machinery should be maintained safely.

The council will inform and train personnel to implement this policy.

To achieve this objective the council will, in consultation with the maintenance staff:

- carry out an assessment of how the machinery should be isolated for specific maintenance work

- carry out an assessment of how the machinery should be isolated to enable general maintenance work to be carried out safely

- carry out an assessment of the maintenance of the machine itself, including any heavy parts that have to be moved, any positions that have to be reached to achieve the necessary result and any risks of parts falling

- carry out an assessment of how the maintenance of the machine affects its environment

- carry out an assessment of all hazards that arise when guards have been removed

- take appropriate measures for the protection of any person carrying out maintenance operations which the assessment has shown to involve risk to health or safety

- provide any personal protective equipment that might be necessary to carry out the work safely

- ensure that employees are aware of the reporting procedures, so that a responsible person is informed of any problems as soon as they arise and remedial action can be taken.

Information and Training

The council will give sufficient information, instruction and training as is necessary to ensure the health and safety of all maintenance staff and any others affected by maintenance of the machinery. Managers responsible for supervising the maintenance of the machinery will be appropriately trained.

## Manual Handling

To prevent injuries and long term ill-health from manual handling the council will ensure that operations which involve manual handling are eliminated, so far as is reasonably practicable. Where it is not practical the council will carry out a manual handling risk assessment to determine what control measures are required to reduce the risk to an acceptable level.

To implement this policy the organisation will ensure that:

- manual handling risk assessments are carried out where relevant and records are kept

- employees are properly supervised

- adequate information and training is provided to persons carrying out manual handling activities including details of the approximate weights of loads to be handled and objects with an uneven weight distribution

- any injuries or incidents relating to manual handling are investigated, with remedial action taken

- employees adhere to safe systems of work

- safety arrangements for manual handling operations are monitored and reviewed

- where relevant, employees undertaking manual handling activities are suitably screened for reasons of health and safety, before doing the work

- special arrangements are made for individuals with health conditions which could be adversely affected by manual handling operations.

Reducing the risk of injury

In considering the most appropriate controls, an ergonomic approach to designing the manual handling operation will optimise the health, safety and productivity associated with the task.

Techniques of risk reduction will include:

- mechanical assistance

- redesigning the task

- reducing risk factors arising from the load

- improvements in the work environment

- employee selection.

No employee will be required to lift any item that they do not feel confident of doing without risking personal injury.

## Personal Protective Equipment

The council provides personal protective equipment (PPE) when the risk presented by a work activity cannot be eliminated or adequately controlled by other means. When it is provided, it is because health and safety hazards have been identified that require the use of PPE and it is therefore necessary to use it in order to reduce risks to a minimum.

To effectively implement its arrangements for the use of PPE the council will:

- ensure that PPE requirements are identified when carrying out risk assessments

- use the most effective means of controlling risks without the need for PPE whenever possible and only provide PPE where it is necessary

- carry out an assessment to identify suitable PPE

- ensure that if two (or more) items of PPE are used simultaneously, they are compatible and are as effective used together as they are separately

- ensure that PPE is sourced appropriately and bears the “CE” certification mark

- ensure PPE is available to all staff who need to use it

- provide adequate accommodation for correct storage of PPE

- provide adequate maintenance, cleaning and repair of PPE

- inform staff of the risks their work involves and why PPE is required

- instruct and train staff in the safe use and maintenance of PPE

- make arrangements for replacing worn or defective PPE

- review assessments and reassess the need for PPE and its suitability whenever there are significant changes or at least annually.

Employees provided with PPE for their own personal use at work will be required to sign to confirm its receipt.

## Risk Assessment

Risk assessment is a systematic examination of what within our business can cause harm to people and it helps us determine whether we are doing enough or further actions are required to reduce the likelihood of injury or ill health.

Our policy is to complete a general risk assessment of all our known and reasonably foreseeable health and safety hazards covering all our premises, equipment and activities in order to plan and prioritise the implementation of the identified control measures.

More detailed specific risk assessments will also be carried out as determined by the general assessment to address those premises, equipment, people or activities to comply with specific legislation or to proactively manage health and safety risks.

We will ensure that:

- assessments are carried out and records are kept

- control measures introduced as a result of assessments are implemented and followed

- employees are informed of the relevant results and provided with necessary training

- any injuries or incidents lead to a review of relevant assessments

- assessments are regularly monitored and reviewed

- suitable information, instruction and training will be provided to all persons involved in the risk assessment process.

We may be controlling risks in various ways, determining the effectiveness of those controls is part of our risk assessment process.

## Smoking

Exposure to second-hand smoke, also known as passive smoking, increases the risk of lung cancer, heart disease and other illnesses. Ventilation or separating smokers and non-smokers within the same airspace does not stop potentially dangerous exposure.

It is the policy of the council that all of its workplaces are smoke-free and that all employees have a right to work in a smoke-free environment.

Smoking is prohibited throughout the entire workplace and this includes the use of all artificial smoking aids (electronic or otherwise) with no exceptions. This includes council vehicles that are used by more than one employee. If you have a council car that is designated for your sole use and that is never used by other employees then you can smoke in it if you wish – but the council recommends that you do not do so. This policy applies to all employees, customers and visitors.

Implementation

All staff are obliged to adhere to and facilitate the implementation of the policy.

The council will ensure that all employees and contractors are aware of the policy on smoking. They will also ensure that all new personnel are given a copy of the policy on recruitment or induction.

Appropriate 'no smoking' signs will be clearly displayed at or near the entrances to the premises. Signs will also be displayed in council vehicles that are covered by the law.

## Stress

The Health and Safety Executive define stress as “the adverse reaction people have to excessive pressure or other types of demand placed on them”. This makes an important distinction between pressure, which can be a positive state if managed correctly, and stress which can be detrimental to health.

Stress at work can come about for a variety of reasons.  It may be excessive workload, unreasonable expectations, or overly-demanding work colleagues. As a reasonable council, we try to ensure that you are in a pleasant working environment and that you are as free from stress as possible.

## Training

Training in health and safety is a legal requirement and also helps create competent employees at all levels within the council to enable them make a far more effective contribution to health and safety, whether as individuals, teams or groups.

Competence of individuals through training helps individuals acquire the necessary skills, knowledge and attitude which will be promoted by managers and supervisors throughout the organisation.

Our training objectives will cover three areas, that of the organisation, the job and individuals.

All employees will need to know about:

- the health and safety policy

- the structure and system for delivering this policy.

Employees will need to know which parts of the system are relevant to them, to understand the major risks in our activities and how they are controlled. All employees will be provided with the council Health and Safety Handbook.

Managers and supervisors training needs will include:

- leadership and communication skills

- safety management techniques

- skills on training and instruction

- risk assessment

- health and safety legislation

- knowledge of our planning, measuring, review and audit arrangements.

All our employees training needs will include:

- relevant health and safety hazards and risk

- the health and safety arrangements relevant to them

- communication lines to enable problem solving.

All employees will receive induction training. Such training will cover:

fire procedures, warning systems, actions to be taken on receiving warning, locations of exits/escape routes, evacuation and assembly procedures, first aid/injury reporting procedures, names of first aiders/appointed persons, instruction on any prohibition areas (i.e. no smoking), issue of protective clothing/equipment and its use, instruction under COSHH, mandatory protection areas, thorough instruction applicable to their particular duties at work etc.

Training needs will be reviewed as a result of job changes, promotion, new activities or new technology, following an accident/incident and performance appraisal.

Records of training will be kept for all employees.

Employees must:

- participate in the induction training activities they have been required to attend or carry out

- work according to the contents of any training they receive

- ask for clarification of any points they do not fully understand

- not operate hazardous plant or equipment, use hazardous chemicals or carry out any hazardous activity unless they have been appropriately trained and instructed.

## Violence

The council recognises that in certain situations violent behaviour towards staff may occur and therefore will take all reasonable measures to protect staff from violence and aggression.

We define violence and aggression as:

- actual or threatened physical assaults on staff

- psychological abuse of staff

- verbal abuse which includes shouting, swearing and gestures

- threats against employees.

To achieve this objective we will:

- carry out risk assessments of potential conflict situations to determine the control measures necessary to protect staff

- ensure that premises are kept secure

- inform all employees of the procedure following a violent or challenging behaviour incident

- not tolerate violence or challenging behaviour towards our employees

- train our employees who may be exposed to violence or challenging behaviour situations

- support the employees involved in any incident

- support their decisions regarding the pressing of criminal charges

- provide any counselling or post-incident assistance required by the employees

- keep records of all incidents of violence and aggression and review the control measures with a view to continual improvement in employee safety.

## Visitors

In the interest of safety and security, the council will take the necessary measures to protect staff and visitors from any accidents or incidents that may occur during visiting.

Employees hosting visitors must ensure that:

- they are authorised to enter the premises or accompanied

- they adhere to applicable health and safety instructions and rules during their visit

- adequate information is passed to ensure their safety including emergency information

- any protective clothing required is provided and worn

- any accidents / incidents involving visitors are reported through the accident reporting arrangements.

Employees aware of people on the premises who may be unauthorised should report these to their manager for action.

Emergency Action

In the event of the fire alarm sounding, all visitors should be escorted to the assembly point by their host. Visitors should not leave the area before notifying the senior person present.

## Waste Management

The council will instigate a waste management plan for any work carried out when required to by legislation and in order to do so will identify the:

- client

- Principal Contractor

- person with overall responsibility for the waste management plan

- location of the site where the work will be carried out

- estimated cost of the project.

In carrying out any site work the council will adhere to the following hierarchy for processing of waste materials:

- re-use (on or off site)

- recycle (on or off site)

- send off site for recovery

- send for incineration

- as a last resort send to land fill.

The waste management plan will:

- describe each type of expected to be produced

- estimate the quantities of each type of waste

- describe the waste management action for each type of waste (e.g. re-use, recycle).

The waste management plan will comply with the duty of care and ensure materials will be handled efficiently and waste managed appropriately. All waste materials which leave site will be processed through licensed contractors.

Additional duties:

- ensure co-operation between all contractors involved on the project during the construction phase

- discuss waste management with every site worker through induction, training and tool box talks

- ensure that waste is reused, recycled or recovered, where practicable to do so.

## Work At Height

The council will take all reasonable steps to provide a safe working environment for all employees who may be affected by work at height activities.

The council will ensure that:

- all work activities that involve work at height are identified and assessed

- the need to undertake work at height will be eliminated whenever it is reasonably practicable to do so

- adequate and secure working platforms with guard rails and toe boards will be used in preference to ladders which will be used for light, short duration work only and secured to prevent displacement

- when necessary, only scaffolds and scaffold towers that have been erected by a competent person will be used

- roof lights and other fragile surfaces will be protected to prevent falls

- fall arrest equipment will be used if other means of prevention (safety nets, harnesses with running lines, etc.) are not practical or justified

- risks associated with those activities where work at height cannot be eliminated are evaluated and steps are taken to control them

- all the necessary equipment to allow safe access to and egress from the place of work is provided

- all the necessary equipment to ensure adequate lighting and protection from adverse weather conditions is provided

- suitable plant is provided to enable the materials used or created in the course of the work are safely lifted to and from the workplace and stored there if necessary

- any working platform and its supporting structures are selected and/or designed in accordance with current standards

- regular inspections of all equipment required for working at height are undertaken

- competent persons are appointed to be responsible for the supervision of all work at height and associated activities

- any contractors from whom they procure services comply with this policy.

Information and Training

The council shall provide any information, instruction and training required to work in a safe manner when working at height.

## Work Equipment

The council will provide a safe working environment in relation to work equipment safety and ensure all employees receive appropriate safety information and training in their work equipment.

To achieve this objective the council will:

- provide work equipment that is suitable for the purpose and compliant with the requirements of the Provision and Use of Work Equipment Regulations

- retain and make available the manufacturer’s instruction manual for each item of equipment, where relevant

- before using any item of work equipment, ensure that a risk assessment is carried out and brought to the attention of relevant employees

- inspect all equipment at installation and prior to first use

- regularly inspect work equipment in accordance with the manufacturer’s recommendations

- maintain work equipment in accordance with the manufacturer’s recommendations

- keep records of all inspections and maintenance

- provide adequate instruction, information and training to employees to enable the work equipment to be used and maintained safely

- provide refresher training as appropriate and as determined necessary by workplace inspections.

RISK ASSESSMENT

# 7. RISK ASSESSMENT

## Risk Assessment

Risk Assessment involves identifying the hazards present in the work place or arising out of any work activity and evaluating the extent of the risks involved to employees and others, taking into account existing precautions and their effectiveness.

A hazard is something with a potential to cause harm and can include articles, substances, plant or machines, methods of work and the work environment.

Risk is the likelihood of harm from that hazard being realised. Risk increases with the number of people exposed to the hazard and also with the potential severity of the harm i.e. the resultant injury or ill health effect. If there are no hazards there are no risks.

The regulations require that risk assessments are ‘suitable and sufficient’ in that they should identify all the significant hazards present within the business and its activities and that they should be proportionate to the risk. The assessment should cover all risks that are reasonably foreseeable.

The risk assessment must identify all those people who may be affected by the hazard, whether they are workers or others, such as members of the public.

We may be controlling risks in various ways, determining the effectiveness of those controls is part of the risk assessment process.

Health and safety law does not demand absolute safety when considering what safety controls are required but measures taken should go as far as is ‘reasonably practicable’; a balance between risk and costs, the greater the risk the greater the need to commit resources in terms of time and money to remove or control the risk.

It is a legal requirement that the significant findings of our risk assessments are brought to the attention of our employees.

Carrying out risk assessments

Those who are involved in risk assessments should:

- be competent

- have knowledge and experience of working procedures in practice, potential dangers and strengths and weaknesses of existing precautions

- have knowledge and experience of how to solve problems identified by the assessment

- be in a position to give the commitment, co-operation and resources required to implement the assessment results.

It is important that the person carrying out the risk assessment is competent. This means that the person must have the necessary skills and knowledge gained through experience and training and may have qualifications that enable them to make sound judgments.

Back to Questionnaire	Back to contents

The five stages of risk assessment

STEP 1 - IDENTIFY THE HAZARDS

Look for hazards by walking around the workplace. List the hazards that could reasonably be expected to cause harm. Ask for the opinion of employees as they may have noticed things that are not immediately obvious.

Examples of hazards include:

- cables trailing over floors

- fire

- chemicals

- work benches which are too high or too low

- electricity

- loads which have to be moved manually

- work equipment

- working environment e.g. ventilation, lighting, heating.

STEP 2 - IDENTIFY WHO MAY BE HARMED AND HOW

List groups of people and individuals who may be affected by the hazards e.g.:

- staff

- members of the public

- contractors on the premises.

Pay particular attention to vulnerable persons, e.g. those with disabilities, visitors, female employees who are pregnant or who have recently returned to work after having a baby, inexperienced employees or young persons.

STEP 3 - EVALUATE AND CONTROL THE RISK

Evaluate the risks arising from the hazards and decide whether existing precautions are adequate or if more should be done. When evaluating the extent of the risk, account should be taken of the chance of some harm occurring (likelihood), the likely severity of this, and the number of people who could be affected. The formula:

Severity x Likelihood = Risk

Is used on the risk forms within this policy manual

Even after all precautions have been taken some risk may remain. Ensure the precautions in place meet standards set by legal requirements comply with a recognised standard, represent good practice and reduce the risk as far as is reasonably practicable.

Where additional controls or further action are necessary to reduce the risk, decide what more could reasonably be done by adopting the following principles:

- avoid the risk completely

- evaluate risks which cannot be avoided

- combat risks at source

- adapt work to the individual

- make use of technical progress

- replace the dangerous with none or less dangerous

- develop an overall prevention policy

- give priority to measures which protect the greatest number of people

- give appropriate instructions to employees.

IMPLEMENTING AN ACTION PLAN

Once the level of risk has been determined and the control measures needed to reduce or eliminate the risk established, an action plan should be drawn up with timescales for implementation of the control measures.

STEP 4 - RECORD YOUR FINDINGS

The significant findings of the assessment must be recorded since these provide evidence that something has been done, it is also a legal requirement. Keep any written assessments for future reference and ensure that employees are informed of the findings and control measures, either existing or additional, that have to be observed and used. In some circumstances the findings of the risk assessment should also be given to others who could be affected, for example agency workers, contractors etc.

Hazards and example controls

| Hazard | Example control measures |
| --- | --- |
| Manual handling | Mechanical aids, hoists, getting assistance, breaking loads into smaller units, training |
| Hazardous substances | Substitution for less hazardous alternatives, extract ventilation, personal protective equipment, training |
| Work equipment (machinery, tools, etc.) | Guarding, demarcation of danger zones, restricted operation and use planned preventative maintenance, training |
| Ladders | Avoid working at height. correct type of ladder/stepladders, maintained, training |
| Electricity | Insulated tools, residual circuit breakers, fuses, earthing, inspection and testing of systems and appliances |
| Stairs, etc | Good lighting, handrails, non-slip surfaces, slightly raised/highlighted front edges |
| Fire | Detection/warning systems, fire drills, extinguishers, signs, suitable storage facilities for substances and goods, fire retardant furniture and fittings |
| Noise | Reduction at source, isolation, ear protection, demarcation of danger zones |
| Stress | Reduce/increase workload, more control over work, work suitable for the individual, avoidance of monotonous repetitive work |
| Work environment | Good lighting, ventilation, redesign layout of area, heaters/coolers |

STEP 5 - MONITOR AND REVIEW THE ASSESSMENT

It is important that the control measures are monitored and that records are kept. A regular review of the assessments should be made to take into account any changes to the methods or systems of work. You should also review the assessment following an accident, where there has been a significant change to the work, if new information comes to light, or if there is any other reason to believe that it may no longer be valid. Following the review, additional control measures should be implemented if required. Even if there are no significant changes since the original risk assessment, it should be regularly reviewed to confirm that it is still relevant and valid.

## Fire Risk Assessment

A fire risk assessment is an organised and methodical look at the premises, the activities carried on there and the likelihood that a fire could start and cause harm to those in and around the premises.

The aims of the fire risk assessment are:

- to identify the fire hazards

- to reduce the risk of those hazards causing harm to as low as reasonably practicable

- to decide what physical fire precautions and management arrangements are

- necessary to ensure the safety of people in your premises if a fire does start.

The significant findings of the fire risk assessment, the actions to be taken as a result of the assessment and details of anyone especially at risk must be recorded.

It is important that the fire risk assessment is carried out in a practical and systematic way and that enough time is allocated to do a proper job. It must take the whole of your premises into account, including outdoor locations and any rooms and areas that are rarely used. Small premises may be able to assess as a whole, in larger premises you may find it helpful to divide them into rooms or a series of assessment areas using natural boundaries, e.g. process areas, offices, stores, as well as corridors, stairways and external routes.

Risk assessments must take account of other users of the buildings and co-operation and communication of hazard and risk must be shared between businesses to ensure a co-ordinated response is prepared and implemented.

You need to appoint one or more competent persons to carry out any of the preventive and protective measures needed to comply with the legislation. This person could be you, or an appropriately trained, employee or, where appropriate, a third party.

Your fire risk assessment should demonstrate that, as far as is reasonable, you have considered the needs of all relevant persons, including disabled people.

Six Steps to Fire Risk Assessment

1.	Identify the hazards

- Sources of ignition

- Sources of fuel

- Sources of oxygen.

2.	Identify people at risk

- Employees

- People in and around the premises

- Vulnerable persons, disabled etc.

3.	Evaluate, remove, reduce and protect from risk

- Evaluate the risk of fire occurring

- Evaluate the risk to people from fire

- Remove or reduce the fire hazards

- Remove or reduce the risks to people.

4.	Consider:

- Detection and warning

- Fire fighting

- Escape routes and travel distances

- Lighting

- Signs and notices

- Maintenance.

5.	Record, plan, inform, instruct and train

- Record the significant findings and action taken

- Prepare an emergency plan

- Inform and instruct relevant people; co-operate and co-ordinate with other businesses

- Provide training.

6.	Review

- Keep assessment under review

- Revise where necessary.

MONITORING HEALTH AND SAFETY

# 8. MONITORING OF HEALTH AND SAFETY

Measurement is essential to maintain and improve our health and safety performance to identify how effectively we are controlling risks and how well we are developing a positive health and safety culture.

There are two types of performance monitoring, active and reactive.

Proactive monitoring

Monitoring is a line manager’s responsibility and each of the key management positions are expected to play their part in monitoring achievement against relevant health and safety standards. Managers will be expected to provide evidence that they have carried out monitoring within their areas of responsibility and they are reinforcing their commitment to health and safety objectives in general and helping to develop a health and safety culture.

This approach to proactive monitoring gives the council feedback on its performance before an accident, incident or case of ill health.

Managers and supervisors with defined health and safety responsibilities must monitor in detail the areas for which they have day to day control. Much of this checking will be informal and not recorded but formalised, structured checks are also essential to ensure all areas are covered and to demonstrate compliance to senior managers who must in turn seek assurance that first line monitoring is taking place.

Employees who take a proactive interest or represent groups for health and safety can also be involved with monitoring and may take the format of a health and safety tour or if more formally via a devised checklist.

Reactive monitoring

Reactive monitoring of events including accidents, incidents, cases of ill health or property damage provide an opportunity to check performance and learn from mistakes and improve control measures.

Trends and common features arising from accident and incident investigation can identify jobs or activities where future health and safety initiatives would be most beneficial. Investigations may also provide valuable information in the event of legal action or an employee claim.